## LED WASH LIGHT BAR

CATEGORIA:

RIBALTA

***CÓDIGO:***

SPL LED 1810

***INFORMAÇÕES:***

Advanced Optical Systems  
18x10W RGBWYP LED  
Features: 0-100% linear dimming function, dyeing, Flash, wall washing  
Beam angle：10°,15°,25°,45°(or)

**POWER**

Input voltage：AC100-240V 50/60Hz

Power consumption：133W

**FIXTURE**

IP rating: IP20

Cooling method:fan cooling

Max ambient temp: 45℃

Case color: black

**LED**

LED：18x10W RGBWYP LED

Average lifespan：50000Hours

**CONTROL**

DMX channe：CH12/CH110

Control mode： DMX/auto/master-slave/RDM

Strobe：1S/25HZ

Fan：2pcs

Features: 0-100% linear dimming function, dyeing, Flash, wall washing

Display: LED display with 4 push buttons

DMX connector：3Pin XLR

Power supply connector：Power Con input/output

**OPTICAL SYSTEMS**

Advanced Optical Systems

Beam angle：10°,15°,25°,45°(or)

****SIZE****

Product size：99CM\*14CM\*15CM

N.W.：4.3KG

SITE DO PRODUTO:

http://www.sparklaser.com/en/products/317.html